## Q
Mean charge states of ions traversing C foils and gasses | [5 empty] | notes: | ABS(t) used throughout
Fits from RO Sayer, Rev. de Phys. App. 12 (1543) 1977. |  |  |  |  | Use straight line for gasses
|  |  | Program by B.L Doyle, SNL |  | Fig. 3, x-axis between 0-0.2
Beam Input Table
Z= | 10
M= | 20 | amu
E= | 200 | MeV
Etan= | 1200 | MeV
Output table | C-foil | gas
Fm= | 0.81712 | 2.2513e-147
Qo= | 9.7653 | 9.9 | average Q
rho= | 0.50689 | 0.35718
epsilon= | -0.048457 | -0.10775
Input Q - Output Charge State Fractions
Q | F(Q) | F(Q)
5 | 4.606e-34% | 6.451e-60%
Hit F10 or Graph-View to see plot of F(Q) vs. Q
Calculation Section
1 amu= | 931 | MeV
beta= | 0.14657
| C-foil | gas
red. vel= | 3.7814 | 3.6898
Qo/Z= | 0.97653 | 0.99
Qo= | 9.7653 | 9.9
rho= | 0.50689 | 0.35718
epsilon= | -0.048457 | -0.10775
| 100 | 100
Q | F(Q)/Fm | F(Q)/Fm | F(Q) | F(Q)
0 | 0 | 9.3899e+83 | 0 | 2.1139e-63
1 | 0 | 1.038e+80 | 0 | 2.3369e-67
2 | 1.6273e-198 | 6.2374e+76 | 1.3297e-198 | 1.4042e-70
3 | 3.1656e-110 | 8.3994e+74 | 2.5867e-110 | 1.8909e-72
4 | 2.6041e-63 | 9.3561e+75 | 2.1279e-63 | 2.1063e-71
5 | 5.6365e-36 | 2.8656e+85 | 4.6057e-36 | 6.4512e-62
6 | 1.9048e-19 | 4.442e+146 | 1.5565e-19 | 1
7 | 1.6411e-09 | 4.1149e-115 | 1.341e-09 | 9.2637e-262
8 | 0.00067879 | 4.0181e-15 | 0.00055466 | 9.0458e-162
9 | 0.29241 | 0.012809 | 0.23894 | 2.8836e-149
10 | 0.89611 | 0.9604 | 0.73223 | 2.1621e-147
11 | 0.034599 | 0.00082727 | 0.028271 | 1.8624e-150
12 | 4.2916e-06 | 3.2999e-21 | 3.5068e-06 | 7.4289e-168
13 | 1.5774e-13 | 4.0102e-253 | 1.2889e-13 | 0
14 | 3.4267e-26 | 6.1764e+120 | 2.8e-26 | 1.3905e-26
15 | 4.3843e-47 | 1.5999e+82 | 3.5825e-47 | 3.6019e-65
16 | 4.746e-82 | 2.3849e+75 | 3.8781e-82 | 5.3691e-72
17 | 3.5515e-144 | 1.3772e+75 | 2.902e-144 | 3.1004e-72
18 | 4.527e-270 | 2.2819e+77 | 3.6991e-270 | 5.1372e-70
19 | 0 | 5.7661e+80 | 0 | 1.2981e-66
sum= | 1.2238 | 4.442e+146